HVAC/Mechanical

Preventative Maintenance Plan

2015-2016

Equipment List

Mark Paul

ACCESS Facilities Manager

Email: mpaul@accesscommunity.org

Mobile: (313) 720-6318

Fax: (313) 842-5150

PLEASE VISIT OUR WEBSITE AT WWW.ACCESSCOMMUNITY.ORG

ACCESS Locations to be included in HVAC PM plan:

ACCESS Schaefer Employment 
& Human Services Center
6451 Schaefer Rd. 
Dearborn, MI 48126
Phone (313) 945-8380
Fax (313) 624-9417

ACCESS Maple Community Health 
& Research Center
6450 Maple St. 
Dearborn, MI 48126
Phone (313) 216-2200 
Fax (313) 584-3226

ACCESS Main Office
2651 Saulino Court
Dearborn, MI 48120
Phone (313) 842-7010
Fax (313) 842-5150

Arab American National Museum
13624 Michigan Ave. 
Dearborn, MI 48126
Phone (313) 582-2266
Fax (313) 582-1086

ACCESS Hope House
6470 Williamson St. 
Dearborn, MI 48126
Phone (313) 582-5979
Fax (313) 582-7022

The Annex
13620 Michigan Ave
Dearborn, MI 48126

ACCESS Macomb Community Health &

Research Center - Macomb County
4301 E. 14 Mile Rd. 
Sterling Heights, MI 48310
Phone (586) 722-6036

ACCESS Macomb LSSM 
4247 E. 14 Mile Rd. 
Sterling Heights, MI 48310
Phone (586) 698-0013

6451 Schaefer Rd. - Schaefer

Make			     Model #		      Serial #

Standard Rooftops

1     Trane                             ycd036c4labe                      n23103723d

2     Trane                             ycd048c4labe                      n23103730d

3     Trane                             ycd102c4hcab                     n23103907d

4     Trane                             ycd090d4labe                      n23103741d

5     Trane                             ycd102c4lcab                      n23103908d

6     Trane                             ycd102c4hcab                     n23103906d

7     Trane                             ycd060c4lcbe                      n23103734d

8     Trane                             ycd090d4labe                      n23103742d

9     Trane                             ycd036c4lcbe                      n23103725d

10   Trane                             ycd036c4lcba                      n23103724d

Split Systems

1    Comfort-Aire                    a-mmc24fa-2                      803kavh00055

2    Comfort-Aire                    sma125a-0

3    Soleus Air                        kfghd-09od/kfghd-09id

Exhaust Fans

2

Unit Heaters

6

Control System

1 JACE 6 Tridium Web Server w/ COMM 4 Trane Tracer 100 driver

Water Heaters

2 Electric Tank Storage Units

2 Electric Point-Of-Use Units

Drinking Fountains

2 bi-level units

6450 Maple St. - Maple

Make			     Model #		      Serial #

Packaged Industrial Rooftop

1   TRANE     SLHFC7543Y56D99D8001ADDE0G00L0NBT0Y8650   C01G55446

Zones controlled by VAV

Boilers

- Lochinvar			PBNO750			1013286

- Lochinvar			PBNO750			1013287

Zones Controlled by VAV

Exhaust Fans

4

Unit Heaters

6

Control System

1 Tracer Summit v12.00.0043 Service Pack 4.

bmtw000aa0a04200a87000	e01l05242m

Pumps

- HVAC Pumps

4     Hot Water Circulation Pumps

Drinking Fountains

2 bi-level units

Hot Water Heaters

4 Electric with Tank Storage

13624 Michigan Ave. – Arab American National Museum

Make			     Model #		      Serial #

Air Cooled Condensing Unit

1   Trane 			          RAUCD104BN 			C04F04786

Packaged Industrial Rooftops

1   Trane 				SLHGC904FY 			C04F04895

2   Trane 				WLHB9114FY 			C04F04894

Split System

1   Liebert Corporation 		MMD36E (indoor unit)

Liebert Corporation	 	PFCZ037A (outdoor unit)

Boilers

1   Lochinvar 				PBN1500 		     D04H00163796

2   Lochinvar 				PBN1500 		     D04H00163797

Exhaust Fans

2

Humidifiers

Nortec 					NHMC 200	          648569605001  440-480v

Nortec 					NHMC 200  	          648569605002  440-480v

Nortec 					NHMC 200  	          648569605003  440-480v

Unit Heaters – Hot Water

8

Control System

1 Tracer Summit

HVAC Pumps

6

Drinking Fountains

- Bi-Level units

Hot Water Heaters

- Electric with tank storage

2651 Saulino Ct. – Main Office

Make			     Model #		      Serial #

Standard Rooftops

1    AAON			rn031-8-0ba04-2c2		200904-bngu-05608

2    AAON			rm-007-8-0-ba01-232		200904-amgg48557

3    AAON			rm-007-8-0-ba01-232		200904-amgg48557

4    AAON			rm005-8-0-ba01-222		200910-amge49695

5    AAON			rm003-8-0-ba01-212		200910-amgc-49699

6    AAON			rm004-8-0ba01-222		200910-amgo-49698

7    AAON			rm005-8-0ba01-232		200910-amge-49697

8    AAON			rm005-8-0ba01-232		200910-amge49696

9    AAON			rm003-8-0ba01-212		200904-amgc-48556

10  AAON			rm003-8-0ba01-212		200904-amgc-48555

11  AAON			rm003-8-0ba01-212		200904-amgc-48554

12  AAON			rm003-8-0ba01-212		200904-amgc-48553		13  AAON			rm003-8-0ba01-212		200904-amgc-48552

Split System

1 Soleus			KFGHP-09-0D

Exhaust Fans

4

Unit Heaters

5

Hot Water Heaters

1    Electric with Tank Storage

1    Gas with Tank Storage

Drinking Fountains

- Bi-Level units

Pumps

1    Hot water circulation

6470 Williamson St. – Hope House

Make			     Model #		      Serial #

Standard Rooftops

1   Carrier			48tme008-501		3709g20249

2   Carrier			48tme007-501		3409g40168

3   Carrier			48tme007-501		3809g40170

4   Carrier			48tme007-501		3509g30242

Exhaust Fans

2

Hot Water Heater

- Gas with Tank Storage

Pumps

1   Hot Water Circulation

13620 Michigan Ave, Dearborn – The Annex

Make			     Model #		      Serial #

Standard Rooftops

1   York			ZF090N15N2AAA5		N1M3256093

2   York			ZF090N15N2AAA5		N1M3256094

Exhaust Fans

1

Hot Water Heater

1 Electric with Tank Storage

Drinking Fountain

1 Bi-level Unit

4301 E. Fourteen Mile Rd. – Macomb

Make			     Model #		      Serial #

Furnaces

1   Bryant Plus 90		CD5AXA060000AAA		0996X50699

2   Bryant Plus 90		CD5AXA060000AAA		0996X50697

3   Bryant Plus 90		CD5AXA060000AAA		0996X50700

4   Bryant Plus 90		CD5AXA060000AAA		0996X50684

5   Bryant Plus 90 		CD5AXA060000AAA		0996X50698

6   Bryant Plus 90		CD5AXA060000AAA		0996X50726

Central Air Conditioner

1   Bryant 561C		61CP060-B			4995E13264

2   Bryant 561C		61CP060-B			4695E09487

3   Bryant 561C		61CP060-B			4995313269

4   Bryant 113 Legacy	113RPA060-G			0808E22785

5   Bryant 561C		61CP060-B			4995E13272

6   Bryant 561C		61CP060-B			3705E23585

Hot Water Heater

2 Electric with Tank Storage

Drinking Fountain

1 Unit

4247 E. Fourteen Mile Rd. – Macomb

Make			     Model #		      Serial #

Furnaces

1   Bryant Plus 90		CD5AXA060024AAAA		3998X42615

2   Bryant Plus 90		CD5AXA060024AAAA		3998X42617

3   Bryant Plus 90		CD5AXA060024AAAA		3698X35694

4   Bryant Plus 90		CD5AXA060024AAAA		3698X35693

5   Bryant Plus 90 		CD5AXA060024AAAA		Incomplete

Central Air Conditioner

1   Bryant 561C		561CJ060-A			2099E23191

2   Bryant 561C		561CJ060-A			1999E14897

3   Bryant 561C		561CJ048-A			0499E17423

4   Bryant 561C		561CP60-A			1997E17524

5   Bryant 561C		561CP60-A			1997E17519

Hot Water Heater

2 Electric with Tank Storage

Drinking Fountain

1 Unit